## Slide 1: Transducers & Instrumentation
Module 01/02
(Sensor Dynamics Characteristics; LTI system; Convolution; Laplace Transform; Frequency Response; Zero, First, and Second Order LTI systems)

## Slide 2: Sensor dynamic characterization
Many sensors do not respond instantaneously to a given input.
E.g., Contact thermometer
Mathematically described using differential equations relating the measured and other inputs to the sensor output.
A common and very useful model for such dynamical systems are linear time invariant systems.

## Slide 3: Linear Time Invariant Systems
Both Linear and Time Invariant.
Linear Time Invariant System

## Slide 4: Some useful signals
Step signal:
Exponential signal:
Sinusoidal signals:

## Slide 5: Some useful signals
Dirac Delta Function :

## Slide 6: Input-Output Relationship of LTI systems
LTI System

## Slide 7: Impulse Response
LTI System

## Slide 8: Convolution
LTI System

## Slide 9: Another Description of LTI systems
LTI System

## Slide 10: Laplace Transform
A very popular and useful integral transform method for analysing LTI systems.
Unilateral Laplace transform.
Laplace Transform Pairs:

## Slide 11: Laplace Transform Pairs
Time Domain Signal | Laplace Transform
Time Domain Signal | Laplace Transform

## Slide 12: Laplace Transform Property
and are Laplace transform pairs. Then,

## Slide 13: Why is the Laplace Transform useful for LTI systems?
LTI System

## Slide 14: Transfer Function of an LTI system
LTI System

## Slide 15: Frequency Response of an LTI System
LTI System

## Slide 16: Zero Order System
LTI System
Pure Linear Resistor
Pure Linear Spring

## Slide 17: First Order System
LTI System

## Slide 18: First Order System
LTI System
RC / RL circuits
Spring-damper/Mass-damper

## Slide 19: First Order System

## Slide 20: First Order System

## Slide 21: Second Order System
LTI System

## Slide 22: Second Order System
LTI System
RLC circuits
Mass-Spring-damper

## Slide 23: Second Order System Response

## Slide 24: Second Order System – Frequency Response

## Slide 25: Dynamic characterization of sensors
Identifying sensor parameters from measured data.
System identification tools can be used for doing this.
Simple procedure for first order system using a step response.
LTI System

## Slide 26: Dynamic characterization of sensors

## Slide 27: Multi-Input Multi-Output Case
We are often interested in measurands that have multiple components.
Sensor

## Slide 28: Multi-Input Multi-Output Case
A general MIMO sensor
Sensor output due to all the individual measurands at the input.

## Slide 29: Linear MIMO Sensor
: Sensitivity Matrix
: Sensitivity of the ith output to the jth input.

## Slide 30: Linear MIMO Sensor
: ith column of output to the sensitivity matrix .

## Slide 31: Linear MIMO Sensor
If is square and full rank, then exists, where .
Square or Tall is full rank if and only if .
For sensing must be square or tall, i.e., more outputs than inputs.
Real scenario:

## Slide 32: Linear MIMO Sensor
When is tall, there is no but we can use the pseudoinverse,
Real scenario:
Where,
is the least squares estimate of , which allows to average out the contribution of the noise .