## Slide 1: Transducers & Instrumentation
Module 02
(Basic Instrumentation)

## Slide 2: A typical measurement system
Sensor
Analog Processing System
Analog-to-Digital Converter
Display Unit
(or)
Computing Unit
Physiological Process
Amplification
Attenuation
Filtering
Signal conversion
.
.
.
Sensor
Analog Processing System
Interface

## Slide 3: Basic (linear) Electrical Circuits

## Slide 4: Linear Electrical Circuits – Frequency Domain Characteristics

## Slide 5: Behaviour of some simple linear circuits

## Slide 6: Equivalent circuit
Thevenin Equivalent Circuit

## Slide 7: Analog processing of sensor output
Sensor
Analog Processing System
Interface
Sensor Equivalent Circuit
Sensor as seen by the analog processing system
Analog processing circuit seen by the sensor
Output Impedance
Input Impedance

## Slide 8: Analog processing of sensor output
Sensor
Analog Processing System
Interface
Analog Processing System
Sensor
Loading occurs because of the finite input and non-zero output impedance
<
How can we reduce loading?

## Slide 9: Analog processing: Amplifier
Amplifier
Frequency Response of amplifier

## Slide 10: Analog processing: Amplifier
Amplifier
Loading in real amplifiers
Amplifier
Sensor
Load

## Slide 11: Operational Amplifier
Practical, low-cost, commonly available integrated circuit – Operational Amplifier (op-amp).
An voltage amplifier with extremely high gain .
Has very high input impedance and low output impedance .
Ideal Op-amp

## Slide 12: Operational Amplifier

## Slide 13: Non-Inverting Amplifier

## Slide 14: Voltage follower

## Slide 15: Inverting Amplifier

## Slide 16: Three OpAmp Instrumentation Amplifier

## Slide 17: Common Mode Rejection
The ability of an op-amp to reject a common signal that appears at both its input terminals.

## Slide 18: Frequency selective filters
LTI system can be used for implementing frequency selective filters, i.e. to modify the amplitude and phase of sinusoidal signals without affecting their frequency.

## Slide 19: Frequency selective filters

## Slide 20: Passive filters
Passive filters are made from passive elements – resistors, capacitors, and inductors.

## Slide 21: Active filters
Active filter use active elements, e.g. op-amp.
  Avoid attenuation introduced by the filter in the passband.
  Provide interstage isolations.
  Can implement filters without inductors.

## Slide 22: Active Lowpass Filter

## Slide 23: Determining the frequency response of a system
System

## Slide 24: Determining the frequency response of a system
System