## Slide 1: Transducers & Instrumentation
Module 03 - 01
Measuring Movements

## Slide 2: Kinematics
Study of motion without considering the forces/torques driving the motion.
Point
Rigid body
The number of components required depends on the number of degrees of freedom.

## Slide 3: Kinematics
Derivatives of position and orientation measurements
Linear acceleration
Linear velocity
Linear Jerk
Angular velocity
Angular Acceleration

## Slide 4: Position measurement
Measurement are made with respect to a reference.
Different approaches:
  Resistive sensors
  Inductive sensors
  Capacitive sensors
  Camera-based sensors

## Slide 5: Resistance of a material
Specific Resistivity =

## Slide 6: Potentiometer for measuring position
Change in length leads to change in resistance.

## Slide 7: Potentiometer for measuring position
What happens when there is loading?

## Slide 8: Potentiometer for measuring position
Interfering Inputs
Modifying Inputs
Electrical noise in the circuit.
Noise due to changes in wiper contact resistance.
Wiper bounce over the resistor during movement.
Supply voltage

## Slide 9: Potentiometer for measuring position
Problems:
  Movement of the wiper against friction.
  Mechanical wear
  High frequency measurements are problematic (friction, slider bounce, etc.)

## Slide 10: Inductance
Moving changes produce magnetic fields.
Source: https://circuitdigest.com/sites/default/files/field/image/What-is-Solenoid.png

## Slide 11: Inductance
Magnetic flux
Magnetic induction

## Slide 12: Inductance
Source: https://circuitdigest.com/sites/default/files/field/image/What-is-Solenoid.png

## Slide 13: Linear Variable Differential Transformer (LVDT)

## Slide 14: LVDT

## Slide 15: LVDT
Let’s assume the core is moved by units

## Slide 16: LVDT

## Slide 17: Rotary Variable Differential Transformer

## Slide 18: LVDT Demodulation
LVDT

## Slide 19: LVDT: Interfering and Modifying Inputs
Interfering inputs
Electrical noise in the circuit.
External time-varying magnetic fields affecting the two secondary coils differently.
Modifying inputs
Primary voltage
Temperature dependence on magnetic permeability of the moving core.

## Slide 20: LVDT
Advantages
Good for measuring sub-mm to a few cm displacement.
Reliable and durable; no direct surface contact with the sensing element.
Disadvantages
Not suitable for frequencies greater than 1/10 of the primary frequency.
Inertia of the core can be a problem for dynamic measurements.

## Slide 21: Capacitance

## Slide 22: Capacitance
Source: https://tinyurl.com/2p9557bp

## Slide 23: Capacitive sensors
Sensing rotational motion

## Slide 24: Capacitive sensors

## Slide 25: Capacitive sensors: Interfering and Modifying Inputs
Interfering inputs
Electrical noise.
Unwanted signal coupling through stray capacitance.
Modifying inputs
Primary voltage.
Temperature dependence of reluctance of the core.

## Slide 26: Capacitive sensors
Advantages
For very small displacement in the order of sub-mm.
Reliable and durable; no direct surface contact with the sensing element.
Disadvantages
Sensitive to dust, and moisture.

## Slide 27: Digital Encoder
Produce digital output for measuring translational and rotational motion.
Information produced is in the form of pulses or in coded form.
Interfaced to digital hardware for reading and further processing.

## Slide 28: Shaft Encoder
Incremental Encoder
Absolute Encoder
Incremental Encoder
Pulse output, which is counted to measure change in position (or) width is used to measure velocity.
Absolute Encoder
.
.
.
Series of pulses where the position is already coded.

## Slide 29: Shaft encoder
Four different ways of transducer signal generation:
  Optical method
  Sliding contact method
  Magnetic saturation method
  Proximity sensor method
Detector
Light source

## Slide 30: Shaft Encoder: Incremental Encoder
Offset Sensor or Offset Track configurations.
Reference Window
Detector 1
Detector 2
Reference Detector
Quadrature Output

## Slide 31: Shaft Encoder: Incremental Encoder
Resolution of the encoder:
  Single Channel Output.
  Quadrature Output.