## Slide 1: Transducers & Instrumentation
Module 05 - 01
Measuring Pressure, Flow and Volume

## Slide 2: Pressure
Force is applied from one body to another over a finite area.
Pressure is defined as the force applied per unit area.
Unit: or Pascal
Various other units are employed:
  mm of Water level (mmWater)
  Mm of Hg level (mmHg or Torr)
  Pounds per square inch (PSI)
  …
Measured with respect to a reference.
  Absolute pressure: with respect to vacuum
  Gauge pressure: with respect to atmospheric pressure
  Different pressure: with respect to an arbitrary reference

## Slide 3: Mercury pressure sensor
Source: Fraden, Jacob, and Jacob Fraden. Handbook of modern sensors: physics, designs, and applications. Vol. 3. New York: Springer, 2004.

## Slide 4: Elastic pressure sensors
Eaton, William P., and James H. Smith. "Micromachined pressure sensors: review and recent developments." Smart Materials and Structures 6.5 (1997): 530.

## Slide 5: Bellow based pressure sensors
Source: Fraden, Jacob, and Jacob Fraden. Handbook of modern sensors: physics, designs, and applications. Vol. 3. New York: Springer, 2004.

## Slide 6: Diaphragm-based pressure sensors
Source: Fraden, Jacob, and Jacob Fraden. Handbook of modern sensors: physics, designs, and applications. Vol. 3. New York: Springer, 2004.
Tangential Strain
Radial Strain

## Slide 7: Diaphragm-based pressure sensors

## Slide 8: Diaphragm-based pressure sensors
Micromachined diaphragms and piezoresistive strain gauges

## Slide 9: Diaphragm-based pressure sensors
Have better sensitivity than piezoresistive sensors.
Can be affected by stray capacitances.
Requires complex signal conditioning circuity.

## Slide 10: Piezoelectric Effect
Generation of electric charge by a crystalline material when subjected to a stress.
Examples of materials: quartz (SiO2), poled man-made ceramics, and some polymers (PVDF).

## Slide 11: Piezoelectric effect
Polarization of the crystal due to stresses acting in different directions
: Piezoelectric coefficient (Coulumb / Newton)
In practice crystals are used in the directions where the coefficient is the largest.

## Slide 12: Piezoelectric effect
+ + + + + + + + +
- - - - - - - - -
+ + + + + + + + +
- - - - - - - - -
Transverse effect
Longitudinal effect

## Slide 13: Piezoelectric effect
+ + + + + + + + +
- - - - - - - - -

## Slide 14
What is the output charge and voltage generated by this piezoelectric sensors if a force of 3N is applied on the sensor?

## Slide 15: Piezoelectric sensor equivalent circuit
+ + + + + + +
- - - - - - -

## Slide 16: Charge amplifier

## Slide 17: Piezoelectric sensors are not good for DC measurements

## Slide 18: Piezoelectric pressure sensor