## Slide 1: Transducers & Instrumentation
Module 05 - 02
Measuring Pressure, Flow, and Volume

## Slide 2: Flow rate
Measured as volume flow rate  Volume of substances that crosses an area of cross-section in unit time. (Unit:
Mass flow rate  Mass that crosses a surface in unit time. (Unit:
Blood flow is an important physiological parameter of interest.
Inspiration and expiration rates.

## Slide 3: Cardiac Output (CO)
Amount of blood pumped by the ventricles.
SR: Stroke Volume – Volume of pumped out by the single contraction of the ventricles.
HR: Heart Rate – Number of heart beats per minute.
CO is an important parameter of ventricular function.

## Slide 4: Fick’s method
Proposed by Adolf Fick in 1870.
Lungs

## Slide 5: Fick’s method
Lungs
Inspired oxygen = 210 mL/L
Expired oxygen = 160 mL/L
Total volume = 26L
Duration = 3min
Arterial oxygen concentration = 195 mL/L
Venous oxygen concentration = 132 mL/L
What is the cardiac output?

## Slide 6: Indicator dilution method (Stewart-Hamilton Method)
Mixing chamber
Sudden injection of indicator compound.

## Slide 7: Thermodilution method
Mixing chamber

## Slide 8: Electromagnetic flow meter
Blood is a conducting fluid.
Applying a magnetic field perpendicular to the flow will induce an EMG.

## Slide 9: Electromagnetic flow meter
+
-

## Slide 10: Ultrasound continuous Doppler flow sensing
Use the Doppler effect to determine flow rate.
Source
Receiver
Source
Receiver

## Slide 11: Ultrasound continuous Doppler flow sensing
Source
&
Receiver
Reflected wave

## Slide 12: Ultrasound continuous Doppler flow sensing
Source
&
Receiver
Reflected wave
++

## Slide 13: Ultrasound transit time flow sensing

## Slide 14: Pressure drop method – Pneumotachometer
There is a pressure drop when air flows through a path offering resistance to air flow.
Laminar Flow (through a set of capillaries)
Turbulent Flow (with square edge orifice)

## Slide 15: Venous occlusion plethysmography
Plethysmography is a technique of measuring volume change in a tissue.
From: Togawa, Tatsuo, Toshiyo Tamura, and P. Åke Öberg. "Biomedical sensors and instruments." (2011).

## Slide 16: Impedance plethysmograph
Change in impedance due to a change in volume of a body segment.

## Slide 17: Two vs. Four electrodes plethysmograph

## Slide 18: Thoracic pneumography